[image: image1.png]



[image: image2.jpg]


[image: image3.jpg]


[image: image4.png]#BTEC







Scheme of work

Guided learning hours (GLH): 30
Number of lessons: 30
Duration of lessons: 1 hour
Learners should spend lesson time and non-supervised time working on assignments.
	Lesson
	Unit content*
	Activities
	Links to other units 

	1


	Unit introduction
	Teacher/tutor presentation (approx. 10 minutes): outline the nature of the learning aims and the paper-based examination that learners will be expected to complete.
Teacher/tutor input: introduce learners to drawing conventions.

Learner activity: practise drawing simple sketches showing elevations and sections.
	Unit 5: Construction Drawing Techniques (Topic A.1: Purpose of drawings and Topic B.1: Drawing conventions)

	Learning aim  A: Understand the structural performance required for low-rise construction

	2
	Topic A.1: Performance requirements

How buildings are designed and constructed, considering:

· strength

· stability

· fire resistance

· thermal insulation

· sound insulation

· weather resistance

· sustainability.
	Teacher/tutor input: explain the:

· performance requirements of a building

· characteristics, properties, location, features and applications
· elements and components

· sub-structure and superstructure.

Show learners some examples of construction drawings so they can see what ‘sketches’ look like. Explain drawing symbols (to aid quality of learner sketching).

Learner activity: with tutor guidance, produce a basic sketch (front elevation) of a simple low-rise structure. Annotate the sketch with labels to highlight the achievement of:

· strength

· stability

· fire resistance

· thermal insulation

· sound insulation

· weather resistance

· sustainability.
	

	3
	Strength and stability

Buildings are designed to resist live, dead and dynamic loads to include:

· self-weight

· use

· snow

· wind.

The testing of materials, such as:

· grading of hard core (5 mm sieve)
· slump testing and compressive testing of concrete

· stress grading of structural timber

· mortar testing.

Specifications for the quality of materials:

· British Standards 

· (EN) European numbers

· the strength classifications of concrete, bricks, blocks, mortar and timber.

The construction of cavity walls. 

Lateral and vertical restraint.
Transfer of loads to foundations: roof to walls, floors to walls.

	Teacher/tutor input: explain the following terminology:
· live, dead and dynamic loads.

Explain the testing of construction materials, such as.

Outline the specifications for the quality of materials.

Explain the history of cavity walls (i.e. the rise in the use of cavity walls because of their advantages). 

Explain the uses, technical details (including lateral and vertical restraints) and transfer of loads to foundations.

Learner activity: learners are provided with an image of a typical cavity wall front elevation for them to sketch. With guidance, learners should use this to sketch the spacing of wall ties. They should annotate their sketch showing the vertical and horizontal spacing of wall ties, as well as the requirements for wall ties at openings. 

Teacher/tutor input: provide learners with an image of a typical low-rise building front elevation for them to sketch. With guidance, learners should annotate their sketch showing restraint positioning and the transfer of loads to foundations. 
	Unit 3: Scientific and Mathematical Applications for Construction



	4
	Fire resistance

Fire-resistant materials, including: 

· plasterboard

· concrete

· blockwork

· intumescent paint.

Fire-resistant techniques:

· fire compartments and fire barriers (walls, separating floors, door closes, fire-resistant doors)

· fire escapes

· refuge areas

· cavity fire barriers

· fire alarm systems, smoke detection and sprinkler system.
	Teacher/tutor input: explain fire-resistance testing and the importance of fire resistance. You could use videos of fire-resistance testing available on an online video sharing website. Then guide group discussion to explore the suitability of materials in a range of scenarios, for example straw bale versus concrete block construction in a densely populated area.  

Visual aids of the materials being discussed will aid comprehension.

Learner activity: sketch a plan of an area of school/college and identify on it the locations of fire doors, refuge areas, fire alarms, sprinklers, etc.
	

	5
	Thermal insulation

The purpose of insulation: 
· reduction of heat loss from a building 
· reduction of energy use and costs 
· prevention of the loss of heated air through gaps within a building or structure and providing an acceptable U-value in accordance with regulations.

Types of insulation and the advantages of one over another:
· sheep’s wool
· mineral wool
· glass fibre
· cellulose
· foam.

Types of thermally resistant materials: 
· aerated lightweight concrete blocks

· timber

· lightweight screeds.
Location of insulation: 
· cavity insulation

· wall insulation

· roofing insulation

· flooring insulation

· double glazing

· draught strips.
	Teacher/tutor input: explain the thermal insulation of buildings, perhaps using videos available on an online video sharing website. 

Then guide the group discussion to explore the purpose and types of insulation and their suitability in a range of scenarios, for example retrofitting external wall insulation versus interior insulated cladding for a barn renovation.

Visual aids of the materials being discussed will aid comprehension.

Learner activity: sketch and label a simple low-rise structure and indicate where materials with insulating properties are located. 
	Unit 3: Scientific and Mathematical Applications for Construction

Unit 11: Sustainability in Construction (Topic B.1: Designing for sustainability)

	6
	Sound insulation

The purposes of sound insulation: 

· resisting the passage of sound through a structure

· preventing nuisance and noise disturbance of adjacent neighbours

· reducing external infrastructure noise 

· reducing aircraft noise
· providing confidentiality.
Types of sound insulation: 

· triple glazing

· heavy-density blockwork

· sound insulation quilt

· plasterboard layers

· flooring mats

· carpeting

· acoustic ceilings.

The location of sound insulation: 

· floor, wall and ceiling construction between adjacent rooms and flats

· party walls and internal partition walls, windows and doors.

How sound insulation can be provided:  

· adding material density 

· utilising robust design details 

· ensuring sound isolation of structures

· reducing transference of sound by using machinery silencers.
	Teacher/tutor input: explain the principles of sound insulation in buildings. Guide group discussion to explore the purpose, types, location, provision and suitability of materials in a range of scenarios, for example using rockwall to sound insulate a flat versus using it to sound insulate a recording studio.  

Visual aids of the materials being discussed will aid comprehension.

Learner activity: sketch and label a simple low-rise structure and indicate where materials with sound-insulating properties are located. Provide a scenario for learners to work with – for example, multiple occupancy homes (i.e. flats) in the same building due to a conversion project.
Teacher/tutor input: test learners’ understanding of using different types of sound insulation for different purposes.
	Unit 5: Construction Drawing Techniques

	7
	Weather resistance

The purpose of weather resistance: 

· keeping occupants in an acceptable environment 

· ensuring thermal comfort of occupants 

· humidity levels

· preventing damage to finishes and water staining.

Types and selection of waterproof and impervious materials, including: 

· double glazing

· use of falls, weather seals and sealants, flashings and soffits.

The location of weather-resistant materials: 

· guttering

· window and door openings

· external walls

· ventilation ducts

· roof finishes and overhanging eaves.
	Teacher/tutor input: explain what is meant by weather resistance. 

Guide group discussion to explore the suitability of materials in a range of scenarios (e.g. reinforced concrete in a hurricane shelter, damp proof tanking for flood zones, etc.).  

Visual aids of the materials being discussed will aid comprehension.

Learner activity: sketch and label a simple low-rise structure and indicate where materials with weather- resistant properties are located.
	Unit 5: Construction Drawing Techniques

	8
	Sustainability

The purpose of sustainability:

· reduction in building energy use
· conserving finite resources
· reducing carbon emissions to the atmosphere
· reducing pollution and wastage.
Methods of ensuring sustainability:
· orientating buildings for light and heat in the UK 

· reducing the use of greenfield sites and improving the re-use of brownfield sites

· recycling waste materials into new products

· using low embodied energy materials and green renewable natural materials

· using local suppliers

· utilising prefabrication of elements and reducing wastage of construction materials.
Materials:

· hemp, lime (as rendering finishes)

· sheep’s wool (as insulation)

· straw (for the construction of walls)

· timber (such as cedar cladding or softwoods in timber framing)

· aluminium (as guttering and downpipes).
	Teacher/tutor input: explain the principles of sustainability in buildings, perhaps using videos available on video sharing websites. 

Guide group discussion to explore the suitability of different materials and methods in a range of scenarios, for example grey water harvesting or solar panels for domestic usage. Cost and effectiveness should be considered.

Visual aids of the materials being discussed will aid comprehension.

Learner activity: sketch and label a simple low-rise structure and indicate where materials with sustainable properties are located.

Teacher/tutor input: test learners’ understanding of sustainability. 
	Unit 11: Sustainability in Construction



	9
	Topic A.2: Common structural forms for low-rise construction

Traditional cavity wall construction:
· load-bearing elements

· blockwork outer and blockwork inner with external rendered finishes.

Cross-wall construction: 

· load-bearing cross-wall element

· relationships of connecting floors 

· prefabricated concrete cross wall

· use of cross-wall construction in accommodation units.

Panel and cladding construction:
· structural insulated panels (SIPS) 

· panel finishes 

· panel function (panel design to support load), position of insulation.

Timber-framed construction: 

· the use of timber framing 
· position of insulation and vapour/moisture barriers, including damp-proof membranes 
· the position of plywood on panels and connection binder details 
· external brick cladding and methods of tying external finish to supporting panel 
· the formation of openings 
· panel or secondary finishes 
· panel function (panel design to support load).
	Teacher/tutor input: explain the following structural forms:

· traditional cavity wall construction
· cross-wall construction
· panel and cladding systems
· timber-framed construction.
Provide images/drawings of the structural forms listed above for learners to copy and sketch.
Learner activity: learners should sketch and label the above structural forms and provide brief descriptions of materials, elements and components.
	Unit 5: Construction Drawing Techniques

Unit 11: Sustainability in Construction (timber-framed construction under Topic A.2: Common structural forms for low-rise construction)

	10
	Revision of learning aim A



	
	

	Learning aim B: Explore how sub-structures are constructed

	11
	Topic B.1: Preconstruction work

Desk-based preconstruction:

· construction health and safety plan 
· method statements and risk assessments 
· informing the Health and Safety Executive (HSE).
Planning the site – a scaled site layout plan indicating: 
· site accommodation 
· welfare facilities
· storage accommodation
· compounds
· temporary roads and hard standing
· fixed plant
· fire precaution measures.
	Teacher/tutor input: explain the legal requirements of preconstruction. Give examples of construction health and safety plans, method statements, risk assessments and notifications to the HSE.

Learner activity: learners should complete a risk assessment. Learners could also look at a construction health and safety plan, a method statement and a notification to the HSE. If time, they could create their own versions of these documents.

Teacher/tutor input: explain the requirements of the planning phase. 

Learner activity: produce a proportioned site layout sketch plan indicating site accommodation, welfare facilities, storage accommodation, compounds, temporary roads and hard standing, fixed plant and fire precaution measures.
	Unit 5: Construction Drawing Techniques

Units 6–10 (all five units cover health and safety within each craft-specific context)

	12
	Planning the project:

· producing a programme of work or scheduling of activities or resources 

· the purchasing of resources
· organising safety signs and statutory notices, including footpath closures and road crossings
· instituting traffic management.

Site-based preconstruction:
Demolition and clearance of existing structures: 
· sustainable demolition and recycling on brownfield sites
· tree removal and general site clearance of vegetation.
Enabling work: 

· protection of existing services (water, gas, electricity)

· formation of access and egress routes

· installation of temporary supports.
Site set-up: 
· fencing, gates and security of the site 
· temporary lighting
· decontamination works
· installation of site accommodation and associated services and signage
· creation of storage compounds and hard standing
· temporary works required to construct and support the proposed building or works.
	Teacher/tutor input: explain what is meant by a ‘programme of work’. Show learners examples of Gantt charts and explain how they work. 

Learner activity: in groups, discuss the prioritisation of the following preconstruction tasks:
· purchasing of resources
· organising safety signs
· statutory notices

· road crossings 
· traffic management.

Learners to complete an activity to arrange preconstruction tasks in order of completion. 


	Unit 4: Construction Processes and Operations (Topic A.2: Sequencing and planning)

	13
	Topic B.2: Sub-structure groundworks

Hazards associated with groundworks:
· gas 
· collapse of the sides of the excavation

· protection of third parties
· movement of ground water

· working in a confined space

· safe access and egress
· overburden
· likelihood of collapse due to type of soil
· avoiding services such as gas, electricity and water mains

· proximity of workers to excavation plant.
The control of water: 

· temporary control of sub-soil and surface water during excavation (simple sump pumping)

· permanent control of sub-soil water (land drainage).

Methods of earthwork support, including: 

· steel trench sheets

· timbering

· hydraulic trench supports

· aluminium walling.
	Teacher/tutor input: lead a group discussion on the different hazards associated with groundworks. 

Explain why the control of water is important and explain the difference between simple sump pumping and land drainage.

Explain each of the different earthwork support methods. 

Learner activity: sketch the different types of earthwork support.
	Unit 4: Construction Processes and Operations (Topic A.1: Construction operations)


	14
	The function and requirements of a foundation: 
· to safely transmit the loads of the building to the sub-soil

· to settle within acceptable limits for settlement 
· to support the loads of the building for its lifespan.

The different types of foundation and the terminology used: 

· strip and deep strip 
· trench/mass fill 

· raft
· short bored piles and ground beam. 
Detailing foundations:

· engineering brickwork to dpc and cavity fill 

· weepholes 
· selection of appropriate foundation for a variety of ground conditions 
· the advantages/disadvantages of each foundation type.
	Teacher/tutor input: explain the different types of foundation. Focus on the selection of appropriate foundation types for a variety of ground conditions. Explain the advantages/disadvantages of each foundation type.

Learner activity: sketch a simple low-rise building and indicate the transmission of loads through the foundations. 
Learner activity: sketch the different types of foundations: 

· strip and deep strip 
· trench/mass fill

· raft 
· short bored piles and ground beam. 
	Unit 4: Construction Processes and Operations (Topic A.1: Construction operations)


	15

	The design and construction of ground floors: 

Different types of ground floor and their advantages/disadvantages, including: 

· solid
· suspended 

· beam and block. 
Materials used:

· timber joists 
· solid concrete.

Detailing, including: 

· damp-proof course (dpc) 
· damp-proof membrane (dpm) 
· sand blinding 
· hardcore 
· thermal insulation and the location of insulation 

· sub-floor ventilation.
	Teacher/tutor input: explain how ground floors are detailed and describe the design and construction of ground floors, including advantages/disadvantages of each floor type.

Learner activity: sketch and label a solid floor. Learners should also practise sketching suspended and beam and block ground floors. Labels should include the damp-proof course (dpc), damp-proof membrane (dpm), sand blinding, hardcore, thermal insulation (location of insulation) and sub-floor ventilation like air bricks. 
	Unit 5: Construction Drawing Techniques

	Learning aim C: Explore how superstructures are constructed

	16
	Topic C.1: Superstructures – walls

The functions of a wall: 

· to resist heat transfer

· to reduce sound transmission

· to transfer loads to foundations

· to provide shelter

· to provide security.

Understand how walls are detailed. 

Different types of construction and their advantages and disadvantages: 

· cavity masonry 

· timber frame 
· structural insulated panels (SIPs). 
Wall-tie spacing. 
Internal partitions (timber, metal stud, solid blockwork).
	Teacher/tutor input: guide a whole-group discussion about the functions of a wall. Once the five functions have been listed, explain these functions.

Learner activity: sketch and label a simple low-rise building, describing how the walls provide:

· resistance to heat transfer
· reduction of sound transmission

· transfer of loads to foundations

· shelter

· security.

Teacher/tutor input: explain the terminology used when detailing superstructures (walls). Present learners with examples of drawings or images of walls to demonstrate typical walling arrangements.

Explain how walls are detailed, including the advantages and disadvantages of different types of wall.

Learner activity: sketch and label cavity masonry, timber frame, structural insulated panels (SIPs), wall-tie spacing and internal partitions. 

Teacher input: follow activity with Q&As to check learning. 
	Unit 7: Exploring Brickwork and Blockwork Principles and Techniques (Topic A.2: Materials used for constructing brickwork and blockwork)

	17
	Types of wall finishes and their advantages and disadvantages: 
· rendered blockwork

· facing brickwork 

· pointing (bucket handle/tooled, recessed, weathered, flush).


	Teacher/tutor input: explain the types of the following wall finishes and their advantages and disadvantages:

· rendered blockwork

· facing brickwork. 
Learner activity: sketch wall panel, adding symbols to denote blockwork and brickwork. 
Teacher/tutor input: explain the following wall finishes: 

· rendered blockwork 
· facing brickwork.

Learner activity: learners sketch jointing/pointing profiles:

· bucket handle/tooled

· recessed

· weathered

· flush.
They also state the advantages and disadvantages of each joint.
	

	18
	The materials used in the construction of walls:

· thin joint masonry 

· lightweight thermal blockwork 
· the quality of facing bricks 
· the types of mortar and quality to maintain structural integrity and load distribution.
	Teacher/tutor input: explain the materials used in the construction of walls, including:

· thin joint masonry

· lightweight thermal blockwork

· the quality of facing bricks
· the types of mortar and their quality 
· the part played by materials in maintaining structural integrity and  load distribution.
	

	19
	Types of wall openings and their functions: 
· to provide ventilation 

· to provide light

· to improve aesthetics.
The components of a wall opening and their functions: 

· lintel

· sill

· window

· door

· threshold

· damp-proof course

· cavity trays

· cavity closers

· weepholes.
Detailing around wall openings, including the detailing of: 
· heads

· thresholds

· sills and jambs
· wall-tie spacing.

The functions of detailing: 
· to prevent damp transfer

· to ensure continuity of insulation

· to maintain structural integrity

· to distribute loads.
	Teacher/tutor input: provide images or drawings of wall opening components and detailing for learners to look at. Explain the creation and function of wall openings and the detailing around wall openings.

Learner activity: sketch a section showing the different components, and then explain the function of each.
Copy and sketch a section showing: 

· details of heads

· thresholds

· sills and jambs, including wall-tie spacing.
Write brief descriptions of how the functions of detailing contribute to: 
· prevention of damp transfer

· continuity of insulation

· maintaining structural integrity
· load distribution.
	

	20
	Topic C.2: Superstructures – floors

Functions of a floor: 

· to provide a level surface
· to reduce sound transmission

· to transfer loads to walls
· to provide accommodation of services.
	Learner activity: copy and sketch a simple low-rise structure and write brief descriptions of how the detailing of floors provides:

·  a level surface

·  reduction of sound transmission
·  transfer loads to walls 

·  accommodation of services.
	

	21
	Types of intermediate floor construction and their advantages and disadvantages: 
· solid
· timber
· engineered timber. 
The materials used in floor construction: 
· stress-graded timber joists
· concrete beams and blocks

· eco-joists 
· engineered timber joists 
· precast concrete planks.
	Teacher/tutor input: explain the terminology used in the detailing of superstructures (floors). Present learners with examples of drawings, images, videos, etc.

Explain how types of intermediate floors are detailed and the advantages and disadvantages of each type, including: 
· solid

· timber
· engineered timber.

Learner activity: sketch and label typical arrangements for:
· a stress-graded timber joist floor

· a beam and block floor.
	

	22
	(Cont.)

Types of intermediate floor construction and their advantages and disadvantages: 
· solid
· timber
· engineered timber. 
The materials used in floor construction: 
· stress-graded timber joists
· concrete beams and blocks

· eco-joists 
· engineered timber joists 
· precast concrete planks.
	Sketch typical arrangements for floors using:

· eco-joists
· engineered timber joists

· precast concrete planks. 
	

	23
	Types of floor finishes, including: 
· screeded 
· chipboard
· moisture-resistant chipboard
· tongue-and-grooved softwood floorboards 
· skirtings.

	Teacher/tutor input: guide a group discussion about the different types of floor finish, including:

· screeded

· chipboard

· moisture-resistant chipboard

· tongue-and-grooved softwood floorboards

· skirtings.

Learner activity: sketch and label typical arrangements for the types of floor finishes listed above.
	

	24
	Components of a floor and their functions: 

· supporting joists
· structure
· floor covering
· wall support
· skirtings.
	Teacher/tutor input: provide learners with images or drawings of floor components. 

Learner activity: copy and sketch an elevation view showing:

· supporting joists

· structure

· floor covering

· wall support

· skirtings. 
In small groups, discuss the function of each component. 

Teacher/tutor input: Q&As to check understanding.
	

	25
	Topic C.3: Superstructures – roofs

Types of roof, their maintenance and their advantages and disadvantages: 

· flat
· lean-to
· mono pitch
· double pitch
· gable end
· hipped end. 
The terminology used to label a roof detail.

The functions of a roof:

· to provide a method of discharging rainfall away from the building 
· to waterproof the structure
· to provide a recreational area
· to improve the aesthetics of the structure 

· to provide additional accommodation/space.
	Teacher/tutor input: explain the terminology used in detailing superstructures (roofs). Present learners with examples of drawings and images of different kinds of roof.

Explain how the different types of roof are detailed, including their advantages and disadvantages.

Learner activity: sketch and label the different types of roof.

Teacher/tutor input: test learners’ knowledge of advantages and disadvantages. 

Teacher/tutor input: guide a whole-group discussion about the functions of a roof. Once you have collected all five functions of a roof, explain the functions. 

Learner activity: sketch and label a simple low-rise building, describing how the roof provides:

· a method of discharging rainfall away from the building 
· waterproofing to the structure

· a recreational area

· aesthetics

· additional accommodation/space.
	

	26
	The materials used in the construction of roofs:
· trussed rafters
· traditional timber roof with purlins
· breather membrane
· tile felt
· tile battens
· roof tiles
· bitumen felt.
	Teacher/tutor input: provide learners with examples of drawings and images of different kinds of material used in the construction of roofs, including:

· trussed rafters

· traditional timber roof with purlins

· breather membrane

· tile felt, tile battens, roof tiles, bitumen felt.

Explain the purposes of each material.

Learner activity: sketch and label the above materials used in the construction of roofs.
Teacher/tutor input: follow this with Q&As to check learning. 
	

	27
	Types of roof finishes, according to each type of roof, and fixings of finishes: 
· felt and tile battens
· three-layer felt construction
· rain water goods and downpipes. 
The stages involved in the application of the roof finishes.


	Teacher/tutor input: explain the different types of roof finish employed for each type of roof and the way that these are fixed. 

Explain the stages involved in the application of the roof finishes. 

Lead a whole-group discussion on the advantages and disadvantages of each type of fixing. 

Learner activity: sketch and label:

· a simple roof showing felt and tile battens with rain water goods and downpipes

· a simple flat roof showing three-layer felt construction with rain water goods and downpipes.  
	

	28
	The components of a roof and their functions: 
· common rafters
· jack rafters
· cripple jack rafters
· wall plates
· roof trusses
· binders
· diagonal wind bracing
· ridgeboard
· fascia
· eaves
· valley
· soffit
· gable
· hip
· dormer window
· insulation.

	Teacher/tutor input: explain the components of roofs. Explain the function of each component and follow this with Q&As to check understanding.
Learner activity: sketch a typical roof and label the components.
	

	29
	Revision of learning aims B and C and contingency for outstanding work
	Teacher/tutor input: supervise filing of sketches, activity sheets, handouts, etc. and support revision with Q&As.

Learner activity: revise learning aims B and C, and complete outstanding work.
	

	30
	Revision of entire unit. 

Collation of learner work and course materials.
	Learner activity: revise entire unit.
	

	TOTAL: 30 hours


*See the specification for full details of unit content.

1
© Pearson Education Ltd 2011. Copying permitted for purchasing institution only. This material is not copyright free.

2
© Pearson Education Ltd 2012. Copying permitted for purchasing institution only. This material is not copyright free.

1
© Pearson Education Ltd 2014. 

